Effects of Exposure to Oxygen on Select Compounds in Wine

Adapted From: Effects of Exposure to Oxygen and UV Rays on Select Compounds in Wine

Sarah Freeman

Abstract

Wine is consumed worldwide. However, the vinification and consumption processes are often constrained by wine ageing. This research aimed to analyze the degradation patterns of compounds present in wine. The degradation method studied was oxygen as this is one of the main factors that affect the concentration of compounds in wine. Oxygen exposure experiments were conducted in capped and uncapped glass vials. Capped-vial experiments were used to study the degradation trends of numerous compounds in wine. Uncapped-vial experiments (more reliant on volatility-induced changes) provided training and test data for a Python regression program with predictive capabilities. The results from the capped vial tests indicated that longer esters - ethyl octanoate & ethyl decanoate - and acetic acid consistently decreased across trials. Isoamyl acetate increased in one trial. The Python model demonstrated strong predictive performance across all ester chain lengths, with low normalized root-mean-square errors for all compounds, particularly for ethyl hexanoate and ethyl decanoate. Z-scores were higher for isoamyl acetate and ethyl octanoate. Future experiments to train and test the Python model on various other wines could yield valuable insights.

- Introduction

This paper explores the chemical changes that occur in wines exposed to oxygen. The primary metric used was compounds’ relative changes in concentration, as estimated by their respective corrected peak areas on obtained gas chromatography-mass spectrometry (GC-MS) spectra. Data from open-vial experiments was used to construct a Python model that generates lines of best fit for multi-compound GC-MS data and predicts future peak-area values when provided with relevant data. The experimental and model designs discussed here may serve as a foundation for future research on wine degradation, including the application of prediction-based Python GC-MS models.

- Methods

All experiments employed a GC-MS instrument with an FFAP GC polar column, coupled with headspace solid-phase microextraction (HS-SPME) using a PDMS/DVB fiber to acquire spectra. The protocol utilized a 10-minute GC run cycle, comprising a 7-minute fiber exposure and a 6.93-minute GC-MS run. The starting and maximum temperature used were 70ºC & 248ºC, and the split ratio was 10:1. The TIC scan range was 29-229 amu to detect ethanol, but not water or nitrogen. Chromatographic peaks were integrated to collect corrected peak area and retention time data by GC-MS software, unless it was necessary to use manual integration due to small peak size. Blanks were run before each trial began.

  - Wine Compound Changes Over Time in Capped Vials

This experiment focused on changes in wine compound concentrations, measured every 4 hours over a 12-hour period, beginning at hour 0. The experiment consisted of two trials, with two different wines, both utilizing the same procedure. The first wine measured was a 2023 Turley Casa Nuestra Field Blend (predominantly Petite Sirah), and the second was a 2018 Be Human Cabernet Sauvignon, Washington, Columbia Valley. Each wine was pipetted into five 15mL glass vials using a 5.00mL volumetric pipette and stored with the caps on at room temperature before GC-MS analysis. Most compounds that provided visible peaks were monitored. In addition to the initial blank, a new blank was run for each hour recorded.

  - Wine Compound Changes Over Time in Uncapped Vials

The two experiments on wine degradation using uncapped vials were conducted alongside two UV experiments. The Hour 0 run in the UV experiments was used as the zero-minute run for the uncapped-vial experiments. Once a vial was analyzed at the aforementioned zero-point, it was left uncapped to begin the uncapped-vial experiments.

The first uncapped-vial experiment was conducted using the Sutter Home Sauvignon Blanc, with the vials measured over 10 hours. Due to human error and time constraints, all experiments were conducted in quadruplicate or triplicate. The five measured compounds: ethyl acetate, isoamyl acetate, ethyl hexanoate, ethyl octanoate, and ethyl decanoate, were chosen for measurement due to their strong initial peak areas, which lent themselves to clearer results due to a lower percentage of background. This dataset was collected to develop the later-discussed Python model and comprised 12 runs, including the zero-point run.

The second uncapped-vial experiment used Sutter Home Pinot Grigio, with vials measured for 10 hours. Due to human error, some runs in this experiment were performed in quadruplicate rather than the initial quintuplet. This data was collected to test the Python model, and contained eight runs, including the zero point.

  - Regression Model Creation and Predictive Success

The Python model was created using Gemini AI. The model was developed to automatically assign lines of best fit to the uncapped wine data. The lines of best fit are determined by regression, using exponential and polynomial (1-6) equations. A line is chosen for a compound when the polynomial value is at the maximum or when the R-squared of a tested line is greater than or equal to 0.980. The model stops testing potential best-fit lines once the target R-squared is achieved. These guidelines are in place to prevent overfitting. The model was also designed to predict the corrected area of a compound at any time point. The prediction function requires that the model is given the new initial corrected area of the compound, the time that the wine has been exposed to oxygen, and a set of data containing prior measurements of a desired compound’s corrected area over time. The model accounts for a compound’s initial corrected area, so that predicted values are not distorted by the training data’s y-intercept. The training data for the model was obtained from the first uncapped-vial experiment using a Sutter Home Sauvignon Blanc. The model’s capabilities were evaluated on data from the second uncapped-vial experiment using Sutter Home Pinot Grigio. However, because the model works off a template that the user can add their own data to, the model can be trained on and tested with any provided data.

  - Statistical Analysis of the Obtained Data

Data from the study on capped wine degradation was subjected to a G-test for outliers, which were excluded from the final results. All trends and comparisons were statistically analyzed using a two-tailed t-test assuming unequal variances at the 95% confidence level (p<0.05). The model’s predictive performance was evaluated using the compound's Z-score and the normalized root mean square error.

- Results & Discussion

  - Wine Compound Changes Over Time in Capped Vials

The results of oxygen-driven degradation on a 2023 Turley Casa Nuestra Field Blend (mostly Petite Sirah) and a Be Human Cabernet Sauvignon 2018 Washington Columbia Valley, established a base for the future wine degradation experiments. Because the first trial of the experiment was done relatively quickly after instrument training, the data from the second trial was generally more consistent, leading to more precise results. The graphed data can be viewed in the Supplementary Figures section.

| Compound | 2023 Petite Sirah | 2018 Cabernet Sauvignon | Combined Relative Peak Area Change Trend |
| --- | --- | --- | --- |
| Ethyl Acetate | —* | — | — |
| Ethyl Butanoate | — | — | — |
| Butanoic Acid, 2 Methyl Ethyl Ester | Not Recorded | — | Not Recorded |
| Butanoic Acid, 3 Methyl Ethyl Ester | — | — | — |
| Isobutanol | — | — | — |
| Isoamyl Acetate | Increased | — | — |
| Isoamyl Alcohol | — | — | — |
| Hexanoic Acid, Ethyl Ester | — | — | — |
| Ethyl Lactate | — | — | — |
| Ethyl Octanoate | Decreased | — | — |
| Acetic Acid | Decreased | Decreased | Decreased |
| Ethyl Decanoate | Decreased | Decreased | Decreased |
| Diethyl Succinate | — | — | — |

Table 1. The general trends across the two trials, with compound peak area changes over time recorded.

Concerning Table 1, a value of “—” indicates that no change was observed and a value of “Not Recorded” indicates that the compound was not analyzed in the wine or, in the combined column, in one of the wines. To receive a value other than “—”, a compound’s peak area at the 0 and 12 hours must be statistically different as determined by a two-tailed t-test. The p-values obtained from this test were, for the 2023 Petite Sirah in the order of compounds listed: 0.0000059, 0.13, 0.43, 0.56, 0.0059, 0.19, 0.16, 0.70, 0.0037, 0.020, 0.0044 and 0.054. The p-values obtained from this test were, for the 2018 Cabernet Sauvignon in the order of compounds listed: 0.87, 0.24, 0.49, 0.44, 0.15, 0.26, 0.93, 0.85, 0.15, 0.20, 0.00030, 0.020, and 0.43.

*While there is an increasing statistical difference between the first and last trials, a t-test comparing Hour 4 to Hour 12 showed a decreasing trend, with a p-value of 0.0059. Because of this discrepancy, the overall trend in the data is considered unchanged.

Overall, this experiment provided insight into the expected change of relative compound concentrations over 12 hours in wine. Notably, the longer esters, ethyl octanoate and ethyl decanoate, were the most likely to decrease, likely due to greater chain length compared to shorter esters. Acetic acid decreased over time, in line with general trends.1 And isoamyl acetate increased, which has been seen in a prior study.2 When comparing trends across both wines, it is important to consider that Cabernet Sauvignons generally have longer lifespans than Petite Sirahs, which may account for the increased number of changes in the Petite Sirah.3 The limited number of trends observed in this study suggested that wine in capped, glass vials do not experience rapid levels of change. This led to future experiments utilizing stronger degradation methods.

  - Wine Compound Changes Over Time in Uncapped Vials

Figure 5. Relative corrected peak areas over time for select compounds in a Sutter Home Sauvignon Blanc.

Figure 6. Relative corrected peak areas over time for select compounds in Sutter Home Pinot Grigio.

The data for the first uncapped-vial experiment, using a Sauvignon Blanc, included as many time points as laboratory constraints allowed to collect as much data as possible to train the Python model on. The data for the second uncapped-vial experiment, using a Pinot Grigio, included slightly less time points than the first, as test data sets can be smaller in size. The Pinot Grigio data consisted of time points that intentionally did not overlap with those contained in the Sauvignon Blanc data. This difference enabled testing of the model’s predictive accuracy on points not present in the original dataset. Although the time points in the Sauvignon Blanc experiment did not increase at a constant rate due to laboratory constraints, this was accounted for in the data-processing model.

  - Regression Model Creation and Predictive Success

| Compound | Type of Best Fit Equation | Best Fit Equation | R-Squared Value of Best Fit Equation | Average Z-Score | Average Normalized Root Mean Square Error (%) |
| --- | --- | --- | --- | --- | --- |
| Ethyl Acetate | Exponential | y=8.5595e+6*exp (-2.0800e-3*x) | 0.99850 | -0.77 | 11.31 |
| Isoamyl Acetate | Exponential | y=1.4427e+7*exp (-3.1660e-3*x) | 0.99864 | -2.03 | 10.62 |
| Ethyl Hexanoate | Exponential | y=3.0615e+7*exp (-3.6067e-3*x) | 0.98718 | 0.12 | 1.81 |
| Ethyl Octanoate | Exponential | y=7.9746e+7*exp (-7.3560e-3*x) | 0.98228 | -3.67 | 11.97 |
| Ethyl Decanoate | Polynomial (Deg 4) | y=7.8296e-4*x4-1.1698e*x3+6.2920e+2*x21.4943e+5*x +1.5801e+7 | 0.99245 | -0.31 | 8.75 |

Table 3. The generated best-fit equations from the Sauvignon Blanc training data and their predictive success when evaluated on the Pinot Grigio test data.

The model was trained on a Sauvignon Blanc but tested on a Pinot Grigio. The model demonstrated a strong ability to identify the lines of best fit and proved to have good predictive abilities, especially given that it was trained on only 12 time points. The model generally yielded low Z-scores across compounds, with isoamyl acetate and ethyl octanoate having the only Z-scores greater than two. The normalized root mean square error was higher for the shorter-chain esters but remained relatively low overall, with all values being below 12%. Ethyl hexanoate and ethyl decanoate both had values below 10%; 1.81% and 8.75%, respectively. The low error in the model’s predictions despite the training and test data being obtained from different wines supports the theory that the type of wine does not significantly contribute to the measured changes in opened wine, as the effects are primarily based on compound volatility, which is less affected by a wine’s matrix. However, it would still be beneficial to obtain training and test data sets from the same wine in future experiments.

- Conclusions

Throughout this research project, the effects of oxygen on wines have been studied in a variety of ways. Degradation experiments on capped vials of wine showed that the compounds most sensitive to degradation were: isoamyl acetate, ethyl octanoate, acetic acid, and ethyl decanoate. Of the aforementioned compounds, isoamyl acetate increased over time and the other three compounds decreased. Uncapped-vial data was used to train and test a regression model that achieved moderately low normalized root-mean-square errors across all compounds. Ethyl hexanoate had the lowest normalized root mean square error, followed by ethyl decanoate. Isoamyl acetate and ethyl octanoate had Z-scores greater than two. There are many opportunities for further research. The model’s predictive accuracy should be reanalyzed, using the same wine for both the training and testing datasets, to reduce the impact of variable matrix effects.

References

1Zhang, D.; Wei, Z.; Han, Y.; Duan, Y.; Shi, B.; Ma, W. A Review on Wine Flavour Profiles Altered by Bottle Aging. Molecules 2023, 28 (18), 6522. https://doi.org/10.3390/molecules28186522.

2Wang, L.; Yin, H.; Shao, X.; Zhang, Z.; Zhong, X.; Wei, R.; Ding, Y.; Wang, H.; Li, H. Improving the Aging Aroma Profiles of Italian Riesling and Petit Verdot Wines: Impact of Spontaneous and Inoculated Fermentation Processes. Food Chemistry: X 2023, 20, 100978. https://doi.org/10.1016/j.fochx.2023.100978.

3winefolly.com. How Long to Cellar Wine; Puckette, M., Ed.; 2013. https://winefolly.com/tips/cellar-wine-guide/ (accessed 2025-12-03).

4Scrimgeour, N.; Nordestgaard, S.; Lloyd, N. D. R.; Wilkes, E. N. Exploring the Effect of Elevated Storage Temperature on Wine Composition. Australian Journal of Grape and Wine Research 2015, 21, 713–722. https://doi.org/10.1111/ajgw.12196.

5Vejarano, R.; Luján-Corro, M. Red Wine and Health: Approaches to Improve the Phenolic Content during Winemaking. Frontiers in Nutrition 2022, 9. https://doi.org/10.3389/fnut.2022.890066.

6Gorinstein, S.; Caspi, A.; Zemser, M.; Trakhtenberg, S. Comparative Content of Some Phenolics in Beer, Red and White Wines. Nutrition Research 2000, 20 (1), 131-139.

https://doi.org/10.1016/s0271-5317(99)00145-1.

7Kelem Gashu; Song, C.; Dubey, A. K.; Acuña, T.; Sagi, M.; Nurit Agam; Amnon Bustan; Fait, A. The Effect of Topo-Climate Variation on the Secondary Metabolism of Berries in White Grapevine Varieties (Vitis Vinifera). Frontiers in Plant Science 2022, 13. https://doi.org/10.3389/fpls.2022.847268.

Supplementary Figures

Supplementary Figure 1. The corrected area of select compounds over time, relative to one another, in a 2023 Petite Sirah.

Supplementary Figure 2. The corrected area of select compounds over time, relative to one another, in a 2018 Cabernet Sauvignon.